## Slide 1: When and how partitioning reference intervals ? Concordet D., Braun J.P., Bourgès-Abella N., Trumel C.

## Slide 2: Reference intervals
● A reference interval contains the concentrations of an analyte that can be observed in 95% of reference individuals.
● Usually, the reference individuals are « non diseased » individuals
● When establishing a reference interval one needs to describe carefully the reference population where the individuals are coming from.
The population is not homogeneous : individuals may be of different ages, weights, breeds, gender,…
These demographic characteristics may have an influence on the values being observed.
Is it desirable to establish a reference interval for some demographic characteristics ?
Is it desirable to partition a reference interval into several ones?

## Slide 3: Objectives of this talk
Give some arguments that lead to partition a single interval into several (possibly an infinity) reference intervals
Show different methods that can be used to do this job and give the flavor of how these methods work

## Slide 4: Objectives of this talk
Give some arguments that lead to partition a single interval into several (possibly an infinity) reference intervals
Show different methods that can be used to do this job and give the flavor of how these methods work

## Slide 5: When partitioning a reference interval ?
Partitioning requires the identification of a source of variation (covariates) that can be
quantitative (e.g. bw, age…)
qualitative (e.g. breed,…)
This covariate should
explain part of the interindividual variability,
have a significant effect on reference limits,
lead to a relevant partition from a clinical point of view

## Slide 6: The covariate should explain part of the interindividual variability
Chart: Creatinine (mmol/L)
Chart: 
Chart: 
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
creat | 97.9412 | 98.144 | 98.2486 | 98.422 | 98.9803 | 100.2566 | 101.4776 | 101.6021 | 101.6188 | 104.2196 | 104.4853 | 104.6296 | 105.5366 | 105.7994 | 106.916 | 107.3317 | 108.5881 | 109.5522 | 109.9116 | 110.358 | 110.7148 | 112.2853 | 112.4314 | 112.4678 | 113.7686 | 114.813 | 115.6212 | 116.2164 | 116.3141 | 117.3061 | 118.0455 | 118.7326 | 119.1205 | 119.1727 | 120.1619 | 121.7268 | 122.2604 | 122.52 | 122.5603 | 123.0714 | 124.9046 | 127.2802 | 128.6358 | 129.0769 | 131.568 | 135.2277 | 143.1004 | 145.9547 | 145.9798 | 146.2507 | 150.4177 | 154.7927 | 156.74 | 166.2514 | 168.3784 | 168.7801 | 169.0389 | 170.1551 | 175.6781 | 194.8454
Total sample
Breed 1
Breed 2
Example with a qualitative covariate:
The total variation of Pl creatinine
is explained by different breeds and other things

## Slide 7: The covariate should explain part of the interindividual variability
A non convincing example
with a quantitative covariate
Chart: Pl Creatinine
Chart: Age

## Slide 8: A simple way to quantify the percentage of variability explained by covariates : R²
R² = squared correlation coefficient  [0 ; 1]
R² measures the percentage of variation (dispersion) explained by the covariates
R² = dispersion explained by covariates / total dispersion
R² = 1(100%) when all the dispersion is explained by the covariates
Chart: Creatinine (mmol/L)
Chart: 
Chart: 
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
creat | 97.9412 | 98.144 | 98.2486 | 98.422 | 98.9803 | 100.2566 | 101.4776 | 101.6021 | 101.6188 | 104.2196 | 104.4853 | 104.6296 | 105.5366 | 105.7994 | 106.916 | 107.3317 | 108.5881 | 109.5522 | 109.9116 | 110.358 | 110.7148 | 112.2853 | 112.4314 | 112.4678 | 113.7686 | 114.813 | 115.6212 | 116.2164 | 116.3141 | 117.3061 | 118.0455 | 118.7326 | 119.1205 | 119.1727 | 120.1619 | 121.7268 | 122.2604 | 122.52 | 122.5603 | 123.0714 | 124.9046 | 127.2802 | 128.6358 | 129.0769 | 131.568 | 135.2277 | 143.1004 | 145.9547 | 145.9798 | 146.2507 | 150.4177 | 154.7927 | 156.74 | 166.2514 | 168.3784 | 168.7801 | 169.0389 | 170.1551 | 175.6781 | 194.8454
Total sample
Breed 1
Breed 2
R² =60%
Chart: Pl Creatinine
Chart: Age
R² =7% !!
An empirical rule could be
consider a covariate as a good candidate
for partitioning when R²20%

## Slide 9: The covariates should have a significant effect on reference limits
Chart: Creatinine (mmol/L)
Chart: 
Chart: 
Total sample
Breed 1
Breed 2
P>0.05
The comparison between breed 1 and 2 does
not evidence any significant difference despite what could suggest this graph.
Actually, the majority of data stands in the same area
In this case, the breed should not be considered as a candidate for partitioning

## Slide 10: The covariates should have a significant effect on reference limits
Chart: Creatinine (mmol/L)
Total sample
Breed 1
Breed 2
T-test should not be used because it only compares population means not reference limits
The T-test gives a P-value=0.8 >0.05
It shows that the population means cannot be considered as different.
However, it does not say anything on the reference limits that here are significantly different !
In this case, the breed should be considered as a candidate for partitioning
Chart: Creatinine (mmol/L)
Chart: 

## Slide 11: The covariates should have a significant effect on reference limits
Harris and Boyd method evaluates the reduction of dispersion after a partition (in 2 groups)
is chosen
It is perfect for this case
Chart: Creatinine (mmol/L)
Chart: 
Chart: 
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
creat | 97.9412 | 98.144 | 98.2486 | 98.422 | 98.9803 | 100.2566 | 101.4776 | 101.6021 | 101.6188 | 104.2196 | 104.4853 | 104.6296 | 105.5366 | 105.7994 | 106.916 | 107.3317 | 108.5881 | 109.5522 | 109.9116 | 110.358 | 110.7148 | 112.2853 | 112.4314 | 112.4678 | 113.7686 | 114.813 | 115.6212 | 116.2164 | 116.3141 | 117.3061 | 118.0455 | 118.7326 | 119.1205 | 119.1727 | 120.1619 | 121.7268 | 122.2604 | 122.52 | 122.5603 | 123.0714 | 124.9046 | 127.2802 | 128.6358 | 129.0769 | 131.568 | 135.2277 | 143.1004 | 145.9547 | 145.9798 | 146.2507 | 150.4177 | 154.7927 | 156.74 | 166.2514 | 168.3784 | 168.7801 | 169.0389 | 170.1551 | 175.6781 | 194.8454
Total sample
Breed 1
Breed 2
But not for this one
Chart: Creatinine (mmol/L)
Chart: Creatinine (mmol/L)
Chart: 
Total sample
Breed 1
Breed 2
Harris and Boyd method
is not a statistical test but rather a rule of thrumb

## Slide 12: So what ?
Common sense suggests to partition a reference interval only when it is useful
the reference intervals obtained after partitioning are sufficiently different of the reference interval built with all the data (some CI of RI after partitioning are disjoint with the CI of the overall RI)
partitioning is relevant from a clinical point of view
Chart: Creatinine (mmol/L)
Chart: 
Chart: 
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
creat | 97.9412 | 98.144 | 98.2486 | 98.422 | 98.9803 | 100.2566 | 101.4776 | 101.6021 | 101.6188 | 104.2196 | 104.4853 | 104.6296 | 105.5366 | 105.7994 | 106.916 | 107.3317 | 108.5881 | 109.5522 | 109.9116 | 110.358 | 110.7148 | 112.2853 | 112.4314 | 112.4678 | 113.7686 | 114.813 | 115.6212 | 116.2164 | 116.3141 | 117.3061 | 118.0455 | 118.7326 | 119.1205 | 119.1727 | 120.1619 | 121.7268 | 122.2604 | 122.52 | 122.5603 | 123.0714 | 124.9046 | 127.2802 | 128.6358 | 129.0769 | 131.568 | 135.2277 | 143.1004 | 145.9547 | 145.9798 | 146.2507 | 150.4177 | 154.7927 | 156.74 | 166.2514 | 168.3784 | 168.7801 | 169.0389 | 170.1551 | 175.6781 | 194.8454
Chart: Creatinine (mmol/L)
Chart: Creatinine (mmol/L)
Chart: 
Total sample
Breed 1
Breed 2

## Slide 13: So what ?
Chart: Age
Chart: 

## Slide 14: Objectives of this talk
Give some arguments that lead to partition a single interval into several (possibly an infinity) reference intervals
Show different methods that can be used to do this job and give the flavor of how these methods work

## Slide 15: Which methods can be used to do this job ?
you are rich
The nonparametric methods are the gold standard
You do not need to make (strong) assumptions on the data distribution because the data directly give you this information
you are poor
You need to compensate the lack of information (data) by making assumptions on the data distribution
The parametric methods should be used

## Slide 16: Nonparametric methods
Assumptions on the data
Independence : only one observation for each animal
Case 1: qualitative covariates (technically easy but you need to be very rich)
As an example, assume that the covariate is the breed of the animal
you have 11 breeds in your database
For each breed, you need at least 40 animals
By breed, determine the RI using nonparametric method
Check that the CI of the limits have no common point (for some breeds) with the CI of limits for the overall RI
Determine the quantile 2.5% and 97.5% for each value of the qualitative covariate.

## Slide 17: Breed example
0
25
50
75
100
125
150
175
200
225
250
Pl-Creatinine (µmol/l)
[1] [2] [3] [4] [5] [6] [7] [8] [9] [10] [11]
25
50
75
100
125
150
175
200
225
250

## Slide 18: Nonparametric methods
Assumptions on the data
Independence : only one observation for each animal (precludes follow-up)
The variation of the analyte concentration with the covariate is assumed to be smooth (no abrupt change).
Case 2: quantitative covariates (technically difficult but you do need to be very very rich)
The basic idea of these methods is to fully use the assumption on smoothness
As an example, assume that the covariate is the age of the animal

## Slide 19: Nonparametric methods
Chart: Creat vs Age using method Double Kernel
An interval of age is selected
Weights are compute for each point
The cumulative distribution function
Is then computed using all the
selected points affected by the weights
Chart: Creat
The 2.5% and 97.5 % quantiles
are derived and
affected to the age with the largest weight

## Slide 20: Nonparametric methods
Chart: Creat vs Age using method Double Kernel
An interval of age is selected
Weights are compute for each point
The cumulative distribution function
Is then computed using all the
selected points affected by the weights
The 2.5% and 97.5 % quantiles
are derived and
affected to the age with the largest weight
Change the weights and iter the process

## Slide 21: Nonparametric methods
An interval of age is selected
Weights are compute for each point
The cumulative distribution function
Is then computed using all the
selected points affected by the weights
The 2.5% and 97.5 % quantiles
are derived and
affected to the age with the largest weight
Chart: Creat vs Age using method Double Kernel
Change the weights and iter the process

## Slide 22: Parametric methods
Most parametric methods assume that, up to a data transformation,
For each value of the covariates, the distribution of the analyte of interest is Gaussian
Remind that a Gaussian (normal) distribution is completely determined by
Its mean (m) and its standard deviation .
m
m+2
m-2
2.5%
2.5%

If the distribution of the analyte is Gaussian, the reference interval is given by
[m-2 ; m+2]

## Slide 23: Parametric methods
The main idea of parametric methods is to make m and  change with the covariates
So you need to describe how
m changes with covariates
 changes with covariates
If you choose to keep  constant (no change with covariates) your model is homoscedastic
Its is heteroscedastic otherwise
This description is called a model

## Slide 24: Parametric methods
Assumptions on the data
Independence : only one observation for each animal
Gaussian distribution for each value of the qualitative covariate
Case 1: qualitative covariates
As an example, assume that the covariate is the breed of the animal
you have 11 breeds in your database
By breed, determine the RI using its average and standard deviation
Check that the CI of the limits have no common point (for some breeds) with the CI of limits for the overall RI
Compute the average and the standard deviation for each value of the qualitative covariate and derive the corresponding reference intervals
You also need to check that this assumption is reasonable !

## Slide 25: Breed example
0
25
50
75
100
125
150
175
200
225
250
Pl-Creatinine (µmol/l)
[1] [2] [3] [4] [5] [6] [7] [8] [9] [10] [11]
25
50
75
100
125
150
175
200
225
250

## Slide 26: Parametric methods
Case 2: quantitative covariates (technically more difficult because you have more
Things to choose)
As an example, assume that the covariate is the age of the animal
Assumptions on the data
Independence : only one observation for each animal
Gaussian distribution for each value of the qualitative covariate
A curve that describe how m varies with covariate
A curve that describe how  varies with covariate

## Slide 27: Parametric methods
Chart: Creat vs Age
Possible average variation
Or maybe this one

## Slide 28: Parametric methods
Chart: Creat vs Age
Homoscedasticity ?
Heteroscedasticity ?

## Slide 29: Parametric methods
To be developped by
Anne Geffré
For an example, see the poster of
Nathalie Bourgès Abella

## Slide 30: Conclusions
Partitioning can be useful when there is a huge interindividual variability
Need to identify something that makes your analyte vary
Need to be rich enough
It is not difficult practically to build reference bands
Try Reference Value Advisor

## Slide 31: This talk is dedicated to a real gentleman

## Slide 32
Thank you
d.concordet@envt.fr