Installation Guide

Seven files are given with this set of Excel Macros ReferenceValue Advisor:

1°) this Word file entitled “Installation Guide” that contains an explanation of the procedure to install the macro.

2°) a word file “Guide for RefValAdv” explains how to interpret the results given by the macro.

3°) the Excel file “ReportIR” is the form-sheet

4°) the Excel file “RefValAdvVxx” contains all the macros of the version xx. As an example, for the 1.1 version of RefValAdv, this file is named “RefValAdvV11”

5°) Example is an example Excel file

6°) Licence is an ASCII file containing the licence.

7°) Corrected bugs an ASCII file containing the identified and corrected bugs.

The installation of ReferenceValue Advisor:proceeds in 2 steps.

Step 1

Unzip the downloaded file “RefValAdv.zip” and copy the folder RefValAdv into the folder C:\Program Files.

Step 2

Open Excel

In the menu "Tools" select the option “Macro AddIns”. You should then obtain the following window (here in french)

Click on the button “Browse”

You can now select the file RefValAdvVxx.xla (e.g. RefValAdvV11.xla for the version 1.1) in the folder C:\Program Files\RefValAdv\

Then click on the OK button to finish the installation.

If the installation succeeds, Refvaladv should appear in the add-ins list as shown by the following screen copy.

You can now exit from Excel, Reference Value Advisor: is installed

When the installation is completed, you should see a new icon named RefValadv in the Excel toolbar.

Click on it to establish your reference interval.

The file “Guide for RefValAdv” explains how to interpret the results and graphics given by Reference Value Advisor.